## Closed Maintaince
Sr No | Machine | Lab Name | Frequency | Overall Status | Raised By | Done By | Schedule Date | Closed Date | Checklist | Acceptable Range | Value
1 | ATU - Maint/MJ/KF-LAB2/ATU/01 | Lab 1 | quarterly | wdwqd | avi darandale | avi darandale | 2025-01-09 00:00:00.0 | 2025-02-15 01:52:29.06 | Clean the ATU area | Clean | wdwwd
2 | ATU - Maint/MJ/KF-LAB2/ATU/01 | Lab 1 | quarterly | wdwqd | avi darandale | avi darandale | 2025-01-09 00:00:00.0 | 2025-02-15 01:52:29.06 | Check the cable termination & Tightening | Tight | qs
3 | ATU - Maint/MJ/KF-LAB2/ATU/01 | Lab 1 | quarterly | wdwqd | avi darandale | avi darandale | 2025-01-09 00:00:00.0 | 2025-02-15 01:52:29.06 | Clean & wash the filters | Clean / Wash / Change | qs
4 | ATU - Maint/MJ/KF-LAB2/ATU/01 | Lab 1 | quarterly | wdwqd | avi darandale | avi darandale | 2025-01-09 00:00:00.0 | 2025-02-15 01:52:29.06 | Check belt tension , tight if necessary | Tight | qsq
5 | ATU - Maint/MJ/KF-LAB2/ATU/01 | Lab 1 | quarterly | wdwqd | avi darandale | avi darandale | 2025-01-09 00:00:00.0 | 2025-02-15 01:52:29.06 | Check the voltage | 390 - 415 v | sqsq
6 | ATU - Maint/MJ/KF-LAB2/ATU/01 | Lab 1 | quarterly | wdwqd | avi darandale | avi darandale | 2025-01-09 00:00:00.0 | 2025-02-15 01:52:29.06 | Check the Current | Amps (± 1 amp) | sqsqs
7 | ATU - Maint/MJ/KF-LAB2/ATU/01 | Lab 1 | quarterly | wdwqd | avi darandale | avi darandale | 2025-01-09 00:00:00.0 | 2025-02-15 01:52:29.06 | G4 filter change date and due date | Replaced date and due date | ssqssqsqd
8 | ATU - Maint/MJ/KF-LAB2/ATU/01 | Lab 1 | quarterly | wdwqd | avi darandale | avi darandale | 2025-01-09 00:00:00.0 | 2025-02-15 01:52:29.06 | F7 filter change date and due date | Replaced date and due date | wqddqwdwd
9 | ATU - Maint/MJ/KF-LAB2/ATU/01 | Lab 1 | quarterly | wdwqd | avi darandale | avi darandale | 2025-01-09 00:00:00.0 | 2025-02-15 01:52:29.06 | Hepa filter change date and due date | Replaced date and due date | qwdqwdqwdwqdqdqww
10 | ATU - Maint/MJ/KF-LAB2/ATU/01 | Lab 1 | quarterly | wdwqd | avi darandale | avi darandale | 2025-01-09 00:00:00.0 | 2025-02-15 01:52:29.06 | Check air leakages from frames | no leakage | qwdqw
11 | ATU - Maint/MJ/KF-LAB2/ATU/01 | Lab 1 | quarterly | wdwqd | avi darandale | avi darandale | 2025-01-09 00:00:00.0 | 2025-02-15 01:52:29.06 | After finishing work,checked m/c and taken trial as desired | Done | wdqwd
12 | AHU - Maint/MJ/KF-LAB/AHU/03 | Lab 1 | quarterly | demoooooo | avi darandale | avi darandale | 2025-01-09 00:00:00.0 | 2025-02-13 14:28:33.906 | No Checkpoints
13 | AHU - Maint/MJ/KF-LAB/AHU/03 | Lab 1 | quarterly | efef | avi darandale | avi darandale | 2025-01-12 00:00:00.0 | 2025-02-12 18:37:01.575 | No Checkpoints
14 | AHU - Maint/MJ/KF-LAB/AHU/03 | Lab 2 | quarterly | wferf | avi darandale | avi darandale | 2025-02-08 00:00:00.0 | 2025-02-12 18:38:07.117 | No Checkpoints
15 | AHU - Maint/MJ/KF-LAB/AHU/03 | Lab 2 | quarterly | fccuctycg | avi darandale | avi darandale | 2025-01-14 00:00:00.0 | 2025-02-13 16:14:25.432 | No Checkpoints
16 | Laminar Banch - Maint/MJ/KF- LAB1/LB/05-06 | Lab 2 | halfyearly | done demo | admin demo | avi darandale | 2025-01-16 00:00:00.0 | 2025-02-13 14:10:43.472 | No Checkpoints
17 | Laminar Banch - Maint/MJ/KF- LAB1/LB/05-06 | Lab 2 | halfyearly | overall done | admin demo | avi darandale | 2025-07-23 00:00:00.0 | 2025-02-13 15:14:41.986 | Clean the LB with all accessories | CLEAN | bts
18 | Laminar Banch - Maint/MJ/KF- LAB1/LB/05-06 | Lab 2 | halfyearly | overall done | admin demo | avi darandale | 2025-07-23 00:00:00.0 | 2025-02-13 15:14:41.986 | Check and ensure the electrical terminations are tight. | Tight | bts
19 | Laminar Banch - Maint/MJ/KF- LAB1/LB/05-06 | Lab 2 | halfyearly | overall done | admin demo | avi darandale | 2025-07-23 00:00:00.0 | 2025-02-13 15:14:41.986 | Clean & wash the prefilter | CLEAN | bt
20 | Laminar Banch - Maint/MJ/KF- LAB1/LB/05-06 | Lab 2 | halfyearly | overall done | admin demo | avi darandale | 2025-07-23 00:00:00.0 | 2025-02-13 15:14:41.986 | Check the Pressure Gauge | 10 - 15 mm | bt
21 | Laminar Banch - Maint/MJ/KF- LAB1/LB/05-06 | Lab 2 | halfyearly | overall done | admin demo | avi darandale | 2025-07-23 00:00:00.0 | 2025-02-13 15:14:41.986 | Check and record voltage & Amps | 190 - 230 V , ± 2.5 Amps | b
22 | Laminar Banch - Maint/MJ/KF- LAB1/LB/05-06 | Lab 2 | halfyearly | overall done | admin demo | avi darandale | 2025-07-23 00:00:00.0 | 2025-02-13 15:14:41.986 | Check the steripot voltage | 200-240 volt | t
23 | Laminar Banch - Maint/MJ/KF- LAB1/LB/05-06 | Lab 2 | halfyearly | overall done | admin demo | avi darandale | 2025-07-23 00:00:00.0 | 2025-02-13 15:14:41.986 | Check the steripot Amps | ± 1.20 amps | bt
24 | Laminar Banch - Maint/MJ/KF- LAB1/LB/05-06 | Lab 2 | halfyearly | overall done | admin demo | avi darandale | 2025-07-23 00:00:00.0 | 2025-02-13 15:14:41.986 | Check the steripot Temp. | 240 ˚C (± 5%) - 270 ˚C (± 5%) | ok
25 | Laminar Banch - Maint/MJ/KF- LAB1/LB/05-06 | Lab 2 | halfyearly | overall done | admin demo | avi darandale | 2025-07-23 00:00:00.0 | 2025-02-13 15:14:41.986 | Check the all Tube lights are operational | Tight/Working-normal | ok
26 | Laminar Banch - Maint/MJ/KF- LAB1/LB/05-06 | Lab 2 | halfyearly | overall done | admin demo | avi darandale | 2025-07-23 00:00:00.0 | 2025-02-13 15:14:41.986 | Check hepa filter partical count | 0.5 μ/Mt³ 3520) 5.0 μ/Mt³ N/A) | ok
27 | Laminar Banch - Maint/MJ/KF- LAB1/LB/05-06 | Lab 2 | halfyearly | overall done | admin demo | avi darandale | 2025-07-23 00:00:00.0 | 2025-02-13 15:14:41.986 | Check the Air Velocity | 90 ± 20 | ok
28 | Laminar Banch - Maint/MJ/KF- LAB1/LB/05-06 | Lab 2 | halfyearly | overall done | admin demo | avi darandale | 2025-07-23 00:00:00.0 | 2025-02-13 15:14:41.986 | Check UV running hours / replacement date | 10,000 hours > normal / date | ok
29 | Laminar Banch - Maint/MJ/KF- LAB1/LB/05-06 | Lab 2 | halfyearly | overall done | admin demo | avi darandale | 2025-07-23 00:00:00.0 | 2025-02-13 15:14:41.986 | Check the leaks from Hepa filter. | NO Leakage | ok
30 | Laminar Banch - Maint/MJ/KF- LAB1/LB/05-06 | Lab 2 | halfyearly | overall done | admin demo | avi darandale | 2025-07-23 00:00:00.0 | 2025-02-13 15:14:41.986 | After finishing work,checked m/c and taken trial as desired | Done | ok
31 | Electric Stacker - Maint/MJ/KF- LAB1/ES/72 | N/A | halfyearly | okojihigyg | avi darandale | avi darandale | 2025-01-01 00:00:00.0 | 2025-02-13 15:33:15.689 | No Checkpoints
32 | Electric Stacker - Maint/MJ/KF- LAB1/ES/72 | N/A | halfyearly | electric | avi darandale | avi darandale | 2025-07-18 00:00:00.0 | 2025-02-13 14:40:03.045 | No Checkpoints
33 | Laminar Banch - Maint/MJ/KF- LAB1/LB/01-02 | N/A | halfyearly | okkkkk | avi darandale | avi darandale | 2025-01-09 00:00:00.0 | 2025-02-13 15:16:23.992 | No Checkpoints
34 | Laminar Banch - Maint/MJ/KF- LAB1/LB/01-02 | N/A | halfyearly | afefefef | avi darandale | avi darandale | 2025-07-16 00:00:00.0 | 2025-02-13 14:41:39.437 | No Checkpoints
35 | Air Cold Unit - Maint/MJ/KF-LAB3/ACDU/01 | N/A | halfyearly | done | avi darandale | roshan warade | 2025-01-03 00:00:00.0 | 2025-02-13 15:42:18.23 | No Checkpoints
36 | Air Cold Unit - Maint/MJ/KF-LAB3/ACDU/01 | N/A | halfyearly | ewwef | avi darandale | avi darandale | 2025-07-23 00:00:00.0 | 2025-02-13 16:17:43.925 | Check the all Tube lights are operational | Tight/Working-normal | eceefe
37 | Fan coil Unit - Maint/MJ/KF-LAB3/FCU/92 | N/A | halfyearly | done | avi darandale | roshan warade | 2025-01-01 00:00:00.0 | 2025-02-13 15:52:04.76 | No Checkpoints
38 | Fan coil Unit - Maint/MJ/KF-LAB3/FCU/92 | N/A | halfyearly | done | avi darandale | roshan warade | 2025-01-17 00:00:00.0 | 2025-02-13 15:56:59.847 | check the all control swithes(mcb,mccb etc) & Replace if necessary | Working Normal | Checked
39 | Distribution Board - Maint/MJ/KF- LAB1/DB/03 | N/A | halfyearly | done | avi darandale | roshan warade | 2025-01-15 00:00:00.0 | 2025-02-13 16:25:18.81 | Clean the DB | Clean | Checked
40 | Distribution Board - Maint/MJ/KF- LAB1/DB/03 | N/A | halfyearly | done | avi darandale | roshan warade | 2025-01-15 00:00:00.0 | 2025-02-13 16:25:18.81 | Check the cable termination & Tightening | Tight | Checked
41 | Distribution Board - Maint/MJ/KF- LAB1/DB/03 | N/A | halfyearly | done | avi darandale | roshan warade | 2025-01-15 00:00:00.0 | 2025-02-13 16:25:18.81 | Check the voltage | 390 - 415 V | Checked
42 | Distribution Board - Maint/MJ/KF- LAB1/DB/03 | N/A | halfyearly | kjqbbdnqdqiwd | avi darandale | avi darandale | 2025-01-16 00:00:00.0 | 2025-02-13 16:26:48.612 | No Checkpoints
43 | Distribution Board - Maint/MJ/KF- LAB1/DB/03 | N/A | halfyearly | done | avi darandale | roshan warade | 2025-01-11 00:00:00.0 | 2025-02-13 16:29:38.82 | Clean the DB | Clean | Checked
44 | Distribution Board - Maint/MJ/KF- LAB1/DB/03 | N/A | halfyearly | done | avi darandale | roshan warade | 2025-01-11 00:00:00.0 | 2025-02-13 16:29:38.82 | Check the cable termination & Tightening | Tight | Checked
45 | Distribution Board - Maint/MJ/KF- LAB1/DB/03 | N/A | halfyearly | done | avi darandale | roshan warade | 2025-01-11 00:00:00.0 | 2025-02-13 16:29:38.82 | Check the voltage | 390 - 415 V | Checked
46 | Distribution Board - Maint/MJ/KF- LAB1/DB/03 | N/A | halfyearly | eifwebfui | avi darandale | avi darandale | 2025-01-12 00:00:00.0 | 2025-02-13 16:30:36.492 | No Checkpoints
47 | Climate Control PLC Panel - Maint/MJ/KF-LAB1/CCP/01 | Lab 1 | yearly | Completed | avi darandale | roshan warade | 2025-02-19 00:00:00.0 | 2025-02-24 20:04:36.976 | Check the all PLC /modbus / MCB/TB's/SMPS Conncetions . | tight | Done
48 | Climate Control PLC Panel - Maint/MJ/KF-LAB1/CCP/01 | Lab 1 | yearly | Completed | avi darandale | roshan warade | 2025-02-19 00:00:00.0 | 2025-02-24 20:04:36.976 | Clean the Control panel | clean | Pending
49 | Climate Control PLC Panel - Maint/MJ/KF-LAB1/CCP/01 | N/A | yearly | Completed | avi darandale | roshan warade | 2025-02-27 00:00:00.0 | 2025-02-24 14:47:20.839 | Check the all PLC /modbus / MCB/TB's/SMPS Conncetions . | tight | Done
50 | Climate Control PLC Panel - Maint/MJ/KF-LAB1/CCP/01 | N/A | yearly | Completed | avi darandale | roshan warade | 2025-02-27 00:00:00.0 | 2025-02-24 14:47:20.839 | Clean the Control panel | clean | Pending
51 | Climate Control PLC Panel - Maint/MJ/KF-LAB1/CCP/01 | Lab 1 | yearly | Completed | avi darandale | roshan warade | 2025-02-20 00:00:00.0 | 2025-02-24 15:07:41.612 | Check the all PLC /modbus / MCB/TB's/SMPS Conncetions . | tight | Done
52 | Climate Control PLC Panel - Maint/MJ/KF-LAB1/CCP/01 | Lab 1 | yearly | Completed | avi darandale | roshan warade | 2025-02-20 00:00:00.0 | 2025-02-24 15:07:41.612 | Clean the Control panel | clean | Pending
53 | Climate Control PLC Panel - Maint/MJ/KF-LAB1/CCP/01 | Lab 1 | yearly | Completed | avi darandale | roshan warade | 2025-08-13 00:00:00.0 | 2025-02-24 15:08:59.724 | Check the all PLC /modbus / MCB/TB's/SMPS Conncetions . | tight | Done
54 | Climate Control PLC Panel - Maint/MJ/KF-LAB1/CCP/01 | Lab 1 | yearly | Completed | avi darandale | roshan warade | 2025-08-13 00:00:00.0 | 2025-02-24 15:08:59.724 | Clean the Control panel | clean | Pending
55 | Fertigation machine - Maint/MJ/GH/FM/01 | N/A | halfyearly | Completed | avi darandale | roshan warade | 2025-02-18 00:00:00.0 | 2025-02-24 14:22:43.982 | Check for leak in pipelines | no leak | Done
56 | Fertigation machine - Maint/MJ/GH/FM/01 | N/A | halfyearly | Completed | avi darandale | roshan warade | 2025-02-18 00:00:00.0 | 2025-02-24 14:22:43.982 | Check foundation bolts | Tight | Pending
57 | HTP Spray m/c - Maint/MJ/GH/HTP-SPRY/06 | Lab 1 | halfyearly | done | avi darandale | roshan warade | 2025-08-28 00:00:00.0 | 2025-02-24 13:53:16.686 | Check for leak in pipelines | no leak | ok
58 | HTP Spray m/c - Maint/MJ/GH/HTP-SPRY/06 | Lab 1 | halfyearly | done | avi darandale | roshan warade | 2025-08-28 00:00:00.0 | 2025-02-24 13:53:16.686 | Check foundation bolts | Tight | ok
59 | HTP Spray m/c - Maint/MJ/GH/HTP-SPRY/06 | Lab 1 | halfyearly | done | avi darandale | roshan warade | 2025-08-28 00:00:00.0 | 2025-02-24 13:53:16.686 | Clean the exterior of the pump and motor | Clean | ok
60 | HTP Spray m/c - Maint/MJ/GH/HTP-SPRY/06 | Lab 1 | halfyearly | done | avi darandale | roshan warade | 2025-08-28 00:00:00.0 | 2025-02-24 13:53:16.686 | Check pump pressure guage (before & After) | 2kg -5kg | oko
61 | HTP Spray m/c - Maint/MJ/GH/HTP-SPRY/06 | Lab 1 | halfyearly | done | avi darandale | roshan warade | 2025-08-28 00:00:00.0 | 2025-02-24 13:53:16.686 | All filter cleaning | Clean | k
62 | HTP Spray m/c - Maint/MJ/GH/HTP-SPRY/06 | Lab 1 | halfyearly | done | avi darandale | roshan warade | 2025-08-28 00:00:00.0 | 2025-02-24 13:53:16.686 | Check for leaks and specially in shaft seal. | shaft seal checked | ok
63 | HTP Spray m/c - Maint/MJ/GH/HTP-SPRY/06 | Lab 1 | halfyearly | done | avi darandale | roshan warade | 2025-08-28 00:00:00.0 | 2025-02-24 13:53:16.686 | Check AB tank pump flow | 25ltr /min-30ltr /min | o
64 | HTP Spray m/c - Maint/MJ/GH/HTP-SPRY/06 | Lab 1 | halfyearly | done | avi darandale | roshan warade | 2025-08-28 00:00:00.0 | 2025-02-24 13:53:16.686 | Check and ensure the electrical terminations are tight and record voltage and Amps | 390v-420v,4.5Amp-5.5Amp | ok
65 | HTP Spray m/c - Maint/MJ/GH/HTP-SPRY/06 | Lab 1 | halfyearly | done | avi darandale | roshan warade | 2025-08-28 00:00:00.0 | 2025-02-24 13:53:16.686 | Check EC, PH sensor | take calibration | ok
66 | HTP Spray m/c - Maint/MJ/GH/HTP-SPRY/06 | Lab 1 | halfyearly | done | avi darandale | roshan warade | 2025-08-28 00:00:00.0 | 2025-02-24 13:53:16.686 | Set display parameter | As per requirement | ok
67 | HTP Spray m/c - Maint/MJ/GH/HTP-SPRY/06 | Lab 1 | halfyearly | done | avi darandale | roshan warade | 2025-08-28 00:00:00.0 | 2025-02-24 13:53:16.686 | After finishing work, checked m/c and taken trial as desired | ok
68 | Fertilizer pu+ motor - Maint/MJ/GH-01/FT/PU-M/01 | N/A | yearly | Completed | avi darandale | roshan warade | 2025-02-28 00:00:00.0 | 2025-02-24 14:14:03.778 | No Checkpoints
69 | ATU - Maint/MJ/KF- LAB1/ATU/01 | Lab 1 | quarterly | wdqwd | avi darandale | roshan warade | 2025-02-24 00:00:00.0 | 2025-02-24 20:02:31.963 | Clean the ATU area | Clean | ok
70 | ATU - Maint/MJ/KF- LAB1/ATU/01 | Lab 1 | quarterly | wdqwd | avi darandale | roshan warade | 2025-02-24 00:00:00.0 | 2025-02-24 20:02:31.963 | Check the cable termination & Tightening | Tight | oko
71 | ATU - Maint/MJ/KF- LAB1/ATU/01 | Lab 1 | quarterly | wdqwd | avi darandale | roshan warade | 2025-02-24 00:00:00.0 | 2025-02-24 20:02:31.963 | Clean & wash the filters | Clean / Wash / Change | ko
72 | ATU - Maint/MJ/KF- LAB1/ATU/01 | Lab 1 | quarterly | wdqwd | avi darandale | roshan warade | 2025-02-24 00:00:00.0 | 2025-02-24 20:02:31.963 | Check belt tension , tight if necessary | Tight | k
73 | ATU - Maint/MJ/KF- LAB1/ATU/01 | Lab 1 | quarterly | wdqwd | avi darandale | roshan warade | 2025-02-24 00:00:00.0 | 2025-02-24 20:02:31.963 | Check the voltage | 390 - 415 v | ok
74 | ATU - Maint/MJ/KF- LAB1/ATU/01 | Lab 1 | quarterly | wdqwd | avi darandale | roshan warade | 2025-02-24 00:00:00.0 | 2025-02-24 20:02:31.963 | Check the Current | Amps (± 1 amp) | ok
75 | ATU - Maint/MJ/KF- LAB1/ATU/01 | Lab 1 | quarterly | wdqwd | avi darandale | roshan warade | 2025-02-24 00:00:00.0 | 2025-02-24 20:02:31.963 | G4 filter change date and due date | Replaced date and due date | ok
76 | ATU - Maint/MJ/KF- LAB1/ATU/01 | Lab 1 | quarterly | wdqwd | avi darandale | roshan warade | 2025-02-24 00:00:00.0 | 2025-02-24 20:02:31.963 | F7 filter change date and due date | Replaced date and due date | o
77 | ATU - Maint/MJ/KF- LAB1/ATU/01 | Lab 1 | quarterly | wdqwd | avi darandale | roshan warade | 2025-02-24 00:00:00.0 | 2025-02-24 20:02:31.963 | Hepa filter change date and due date | Replaced date and due date | ko
78 | ATU - Maint/MJ/KF- LAB1/ATU/01 | Lab 1 | quarterly | wdqwd | avi darandale | roshan warade | 2025-02-24 00:00:00.0 | 2025-02-24 20:02:31.963 | Check air leakages from frames | no leakage | k
79 | ATU - Maint/MJ/KF- LAB1/ATU/01 | Lab 1 | quarterly | wdqwd | avi darandale | roshan warade | 2025-02-24 00:00:00.0 | 2025-02-24 20:02:31.963 | After finishing work,checked m/c and taken trial as desired | Done
80 | AHU - Maint/MJ/KF-LAB2/AHU/01 | Lab 2 | quarterly | done | avi darandale | roshan warade | 2025-02-25 00:00:00.0 | 2025-02-25 09:51:50.668 | Clean the AHU area and Pri filter | Clean | ok
81 | AHU - Maint/MJ/KF-LAB2/AHU/01 | Lab 2 | quarterly | done | avi darandale | roshan warade | 2025-02-25 00:00:00.0 | 2025-02-25 09:51:50.668 | Check the cable termination & Tightening of panel and blower motor | Tight | ok
82 | AHU - Maint/MJ/KF-LAB2/AHU/01 | Lab 2 | quarterly | done | avi darandale | roshan warade | 2025-02-25 00:00:00.0 | 2025-02-25 09:51:50.668 | Check belt tension , tight if necessary | Tight | ok
83 | AHU - Maint/MJ/KF-LAB2/AHU/01 | Lab 2 | quarterly | done | avi darandale | roshan warade | 2025-02-25 00:00:00.0 | 2025-02-25 09:51:50.668 | check the Voltage | 400 - 430 v | ok
84 | AHU - Maint/MJ/KF-LAB2/AHU/01 | Lab 2 | quarterly | done | avi darandale | roshan warade | 2025-02-25 00:00:00.0 | 2025-02-25 09:51:50.668 | check the current | Amps (± 1 amp) | ok
85 | AHU - Maint/MJ/KF-LAB2/AHU/01 | Lab 2 | quarterly | done | avi darandale | roshan warade | 2025-02-25 00:00:00.0 | 2025-02-25 09:51:50.668 | Check the AHU inlet cooling water temp In and out | 6 deg, (± 5%)/ 8 deg,( ±5%) | ok
86 | AHU - Maint/MJ/KF-LAB2/AHU/01 | Lab 2 | quarterly | done | avi darandale | roshan warade | 2025-02-25 00:00:00.0 | 2025-02-25 09:51:50.668 | Check the AHU inlet warm water temp In and out | 28 deg, (±5%)/ 32 deg,(±5%) | ok
87 | AHU - Maint/MJ/KF-LAB2/AHU/01 | Lab 2 | quarterly | done | avi darandale | roshan warade | 2025-02-25 00:00:00.0 | 2025-02-25 09:51:50.668 | Check the AHU outlet temp n RH | 22˚C(±5%)/ 55%(±10%) | ok
88 | AHU - Maint/MJ/KF-LAB2/AHU/01 | Lab 2 | quarterly | done | avi darandale | roshan warade | 2025-02-25 00:00:00.0 | 2025-02-25 09:51:50.668 | Check for water leaks/seepage on chilled water pipes, mixing valves etc., Rectify leaks if any | No leakage | ok
89 | AHU - Maint/MJ/KF-LAB2/AHU/01 | Lab 2 | quarterly | done | avi darandale | roshan warade | 2025-02-25 00:00:00.0 | 2025-02-25 09:51:50.668 | G4 filter change date and due date | Replaced date and due date | ok
90 | AHU - Maint/MJ/KF-LAB2/AHU/01 | Lab 2 | quarterly | done | avi darandale | roshan warade | 2025-02-25 00:00:00.0 | 2025-02-25 09:51:50.668 | F7 filter change date and due date | Replaced date and due date | ok
91 | AHU - Maint/MJ/KF-LAB2/AHU/01 | Lab 2 | quarterly | done | avi darandale | roshan warade | 2025-02-25 00:00:00.0 | 2025-02-25 09:51:50.668 | Hepa filter change date and due date | Replaced date and due date | ok
92 | AHU - Maint/MJ/KF-LAB2/AHU/01 | Lab 2 | quarterly | done | avi darandale | roshan warade | 2025-02-25 00:00:00.0 | 2025-02-25 09:51:50.668 | Check cooling coil and clean with chemical pressuried water | Clean | ok
93 | AHU - Maint/MJ/KF-LAB2/AHU/01 | Lab 2 | quarterly | done | avi darandale | roshan warade | 2025-02-25 00:00:00.0 | 2025-02-25 09:51:50.668 | Check condensate drain for free flow | Free Flow | ok
94 | AHU - Maint/MJ/KF-LAB2/AHU/01 | Lab 2 | quarterly | done | avi darandale | roshan warade | 2025-02-25 00:00:00.0 | 2025-02-25 09:51:50.668 | After finishing work,checked m/c and taken trial as desired | Done | ok
95 | AHU - Maint/MJ/KF-LAB2/AHU/01 | Lab 2 | quarterly | done | avi darandale | roshan warade | 2025-02-01 00:00:00.0 | 2025-02-25 10:50:01.131 | No Checkpoints
96 | AHU - Maint/MJ/KF-LAB2/AHU/01 | Lab 2 | quarterly | done | avi darandale | avi darandale | 2025-08-01 00:00:00.0 | 2025-03-11 15:07:28.343 | Clean the AHU area and Pri filter | Clean | ok
97 | AHU - Maint/MJ/KF-LAB2/AHU/01 | Lab 2 | quarterly | done | avi darandale | avi darandale | 2025-08-01 00:00:00.0 | 2025-03-11 15:07:28.343 | Check the cable termination & Tightening of panel and blower motor | Tight | o
98 | AHU - Maint/MJ/KF-LAB2/AHU/01 | Lab 2 | quarterly | done | avi darandale | avi darandale | 2025-08-01 00:00:00.0 | 2025-03-11 15:07:28.343 | Check belt tension , tight if necessary | Tight | kok
99 | AHU - Maint/MJ/KF-LAB2/AHU/01 | Lab 2 | quarterly | done | avi darandale | avi darandale | 2025-08-01 00:00:00.0 | 2025-03-11 15:07:28.343 | check the Voltage | 400 - 430 v | ok
100 | AHU - Maint/MJ/KF-LAB2/AHU/01 | Lab 2 | quarterly | done | avi darandale | avi darandale | 2025-08-01 00:00:00.0 | 2025-03-11 15:07:28.343 | check the current | Amps (± 1 amp) | ok
101 | AHU - Maint/MJ/KF-LAB2/AHU/01 | Lab 2 | quarterly | done | avi darandale | avi darandale | 2025-08-01 00:00:00.0 | 2025-03-11 15:07:28.343 | Check the AHU inlet cooling water temp In and out | 6 deg, (± 5%)/ 8 deg,( ±5%) | ok
102 | AHU - Maint/MJ/KF-LAB2/AHU/01 | Lab 2 | quarterly | done | avi darandale | avi darandale | 2025-08-01 00:00:00.0 | 2025-03-11 15:07:28.343 | Check the AHU inlet warm water temp In and out | 28 deg, (±5%)/ 32 deg,(±5%) | o
103 | AHU - Maint/MJ/KF-LAB2/AHU/01 | Lab 2 | quarterly | done | avi darandale | avi darandale | 2025-08-01 00:00:00.0 | 2025-03-11 15:07:28.343 | Check the AHU outlet temp n RH | 22˚C(±5%)/ 55%(±10%) | k
104 | AHU - Maint/MJ/KF-LAB2/AHU/01 | Lab 2 | quarterly | done | avi darandale | avi darandale | 2025-08-01 00:00:00.0 | 2025-03-11 15:07:28.343 | Check for water leaks/seepage on chilled water pipes, mixing valves etc., Rectify leaks if any | No leakage | o
105 | AHU - Maint/MJ/KF-LAB2/AHU/01 | Lab 2 | quarterly | done | avi darandale | avi darandale | 2025-08-01 00:00:00.0 | 2025-03-11 15:07:28.343 | G4 filter change date and due date | Replaced date and due date | ok
106 | AHU - Maint/MJ/KF-LAB2/AHU/01 | Lab 2 | quarterly | done | avi darandale | avi darandale | 2025-08-01 00:00:00.0 | 2025-03-11 15:07:28.343 | F7 filter change date and due date | Replaced date and due date
107 | AHU - Maint/MJ/KF-LAB2/AHU/01 | Lab 2 | quarterly | done | avi darandale | avi darandale | 2025-08-01 00:00:00.0 | 2025-03-11 15:07:28.343 | Hepa filter change date and due date | Replaced date and due date
108 | AHU - Maint/MJ/KF-LAB2/AHU/01 | Lab 2 | quarterly | done | avi darandale | avi darandale | 2025-08-01 00:00:00.0 | 2025-03-11 15:07:28.343 | Check cooling coil and clean with chemical pressuried water | Clean
109 | AHU - Maint/MJ/KF-LAB2/AHU/01 | Lab 2 | quarterly | done | avi darandale | avi darandale | 2025-08-01 00:00:00.0 | 2025-03-11 15:07:28.343 | Check condensate drain for free flow | Free Flow
110 | AHU - Maint/MJ/KF-LAB2/AHU/01 | Lab 2 | quarterly | done | avi darandale | avi darandale | 2025-08-01 00:00:00.0 | 2025-03-11 15:07:28.343 | After finishing work,checked m/c and taken trial as desired | Done
111 | ATU - Maint/MJ/KF-LAB2/ATU/02 | Lab 2 | quarterly | onnn | avi darandale | roshan warade | 2025-02-25 00:00:00.0 | 2025-02-25 10:47:17.337 | Clean the ATU area | Clean | ok
112 | ATU - Maint/MJ/KF-LAB2/ATU/02 | Lab 2 | quarterly | onnn | avi darandale | roshan warade | 2025-02-25 00:00:00.0 | 2025-02-25 10:47:17.337 | Check the cable termination & Tightening | Tight | ok
113 | ATU - Maint/MJ/KF-LAB2/ATU/02 | Lab 2 | quarterly | onnn | avi darandale | roshan warade | 2025-02-25 00:00:00.0 | 2025-02-25 10:47:17.337 | Clean & wash the filters | Clean / Wash / Change | ok
114 | ATU - Maint/MJ/KF-LAB2/ATU/02 | Lab 2 | quarterly | onnn | avi darandale | roshan warade | 2025-02-25 00:00:00.0 | 2025-02-25 10:47:17.337 | Check belt tension , tight if necessary | Tight | ok
115 | ATU - Maint/MJ/KF-LAB2/ATU/02 | Lab 2 | quarterly | onnn | avi darandale | roshan warade | 2025-02-25 00:00:00.0 | 2025-02-25 10:47:17.337 | Check the voltage | 390 - 415 v | done
116 | ATU - Maint/MJ/KF-LAB2/ATU/02 | Lab 2 | quarterly | onnn | avi darandale | roshan warade | 2025-02-25 00:00:00.0 | 2025-02-25 10:47:17.337 | Check the Current | Amps (± 1 amp) | done
117 | ATU - Maint/MJ/KF-LAB2/ATU/02 | Lab 2 | quarterly | onnn | avi darandale | roshan warade | 2025-02-25 00:00:00.0 | 2025-02-25 10:47:17.337 | G4 filter change date and due date | Replaced date and due date | done
118 | ATU - Maint/MJ/KF-LAB2/ATU/02 | Lab 2 | quarterly | onnn | avi darandale | roshan warade | 2025-02-25 00:00:00.0 | 2025-02-25 10:47:17.337 | F7 filter change date and due date | Replaced date and due date | done
119 | ATU - Maint/MJ/KF-LAB2/ATU/02 | Lab 2 | quarterly | onnn | avi darandale | roshan warade | 2025-02-25 00:00:00.0 | 2025-02-25 10:47:17.337 | Hepa filter change date and due date | Replaced date and due date | done
120 | ATU - Maint/MJ/KF-LAB2/ATU/02 | Lab 2 | quarterly | onnn | avi darandale | roshan warade | 2025-02-25 00:00:00.0 | 2025-02-25 10:47:17.337 | Check air leakages from frames | no leakage | done
121 | ATU - Maint/MJ/KF-LAB2/ATU/02 | Lab 2 | quarterly | onnn | avi darandale | roshan warade | 2025-02-25 00:00:00.0 | 2025-02-25 10:47:17.337 | After finishing work,checked m/c and taken trial as desired | Done | done
122 | ATU - Maint/MJ/KF-LAB2/ATU/02 | Lab 2 | quarterly | done | avi darandale | roshan warade | 2025-02-27 00:00:00.0 | 2025-02-26 00:29:23.817 | No Checkpoints
123 | ATU - Maint/MJ/KF-LAB2/ATU/02 | Lab 2 | quarterly | fhjjkk | avi darandale | roshan warade | 2025-02-26 00:00:00.0 | 2025-02-26 00:32:41.194 | Clean the ATU area | Clean | btsbts
124 | ATU - Maint/MJ/KF-LAB2/ATU/02 | Lab 2 | quarterly | fhjjkk | avi darandale | roshan warade | 2025-02-26 00:00:00.0 | 2025-02-26 00:32:41.194 | Check the cable termination & Tightening | Tight | bt
125 | ATU - Maint/MJ/KF-LAB2/ATU/02 | Lab 2 | quarterly | fhjjkk | avi darandale | roshan warade | 2025-02-26 00:00:00.0 | 2025-02-26 00:32:41.194 | Clean & wash the filters | Clean / Wash / Change | ghj
126 | ATU - Maint/MJ/KF-LAB2/ATU/02 | Lab 2 | quarterly | fhjjkk | avi darandale | roshan warade | 2025-02-26 00:00:00.0 | 2025-02-26 00:32:41.194 | Check belt tension , tight if necessary | Tight | ghjj
127 | ATU - Maint/MJ/KF-LAB2/ATU/02 | Lab 2 | quarterly | fhjjkk | avi darandale | roshan warade | 2025-02-26 00:00:00.0 | 2025-02-26 00:32:41.194 | Check the voltage | 390 - 415 v | ghj
128 | ATU - Maint/MJ/KF-LAB2/ATU/02 | Lab 2 | quarterly | fhjjkk | avi darandale | roshan warade | 2025-02-26 00:00:00.0 | 2025-02-26 00:32:41.194 | Check the Current | Amps (± 1 amp) | ghj
129 | ATU - Maint/MJ/KF-LAB2/ATU/02 | Lab 2 | quarterly | fhjjkk | avi darandale | roshan warade | 2025-02-26 00:00:00.0 | 2025-02-26 00:32:41.194 | G4 filter change date and due date | Replaced date and due date | ghj
130 | ATU - Maint/MJ/KF-LAB2/ATU/02 | Lab 2 | quarterly | fhjjkk | avi darandale | roshan warade | 2025-02-26 00:00:00.0 | 2025-02-26 00:32:41.194 | F7 filter change date and due date | Replaced date and due date | fgjj
131 | ATU - Maint/MJ/KF-LAB2/ATU/02 | Lab 2 | quarterly | fhjjkk | avi darandale | roshan warade | 2025-02-26 00:00:00.0 | 2025-02-26 00:32:41.194 | Hepa filter change date and due date | Replaced date and due date | ghjj
132 | ATU - Maint/MJ/KF-LAB2/ATU/02 | Lab 2 | quarterly | fhjjkk | avi darandale | roshan warade | 2025-02-26 00:00:00.0 | 2025-02-26 00:32:41.194 | Check air leakages from frames | no leakage | ghjb
133 | ATU - Maint/MJ/KF-LAB2/ATU/02 | Lab 2 | quarterly | fhjjkk | avi darandale | roshan warade | 2025-02-26 00:00:00.0 | 2025-02-26 00:32:41.194 | After finishing work,checked m/c and taken trial as desired | Done | vbjh
134 | ATU - Maint/MJ/KF-LAB2/ATU/02 | Lab 2 | quarterly | done | avi darandale | roshan warade | 2025-11-05 00:00:00.0 | 2025-02-25 12:51:05.041 | Clean the ATU area | Clean | Checked
135 | ATU - Maint/MJ/KF-LAB2/ATU/02 | Lab 2 | quarterly | done | avi darandale | roshan warade | 2025-11-05 00:00:00.0 | 2025-02-25 12:51:05.041 | Check the cable termination & Tightening | Tight | Checked
136 | ATU - Maint/MJ/KF-LAB2/ATU/02 | Lab 2 | quarterly | done | avi darandale | roshan warade | 2025-11-05 00:00:00.0 | 2025-02-25 12:51:05.041 | Clean & wash the filters | Clean / Wash / Change | Checked
137 | RO Unit - Maint/MJ/KF-LAB2/ROU/01 | Lab 1 | halfyearly | done | avi darandale | avi darandale | 2025-02-16 00:00:00.0 | 2025-03-11 15:07:01.225 | Clean the RO unit | Clean | ok
138 | RO Unit - Maint/MJ/KF-LAB2/ROU/01 | Lab 1 | halfyearly | done | avi darandale | avi darandale | 2025-02-16 00:00:00.0 | 2025-03-11 15:07:01.225 | Check the panel, DB, cable termination & Tightening | Tight | ok
139 | RO Unit - Maint/MJ/KF-LAB2/ROU/01 | Lab 1 | halfyearly | done | avi darandale | avi darandale | 2025-02-16 00:00:00.0 | 2025-03-11 15:07:01.225 | Check any abnormal noise. | Normal Noise < 50 DB | ok
140 | RO Unit - Maint/MJ/KF-LAB2/ROU/01 | Lab 1 | halfyearly | done | avi darandale | avi darandale | 2025-02-16 00:00:00.0 | 2025-03-11 15:07:01.225 | Check the voltage | 190 to 230 volt | ok
141 | RO Unit - Maint/MJ/KF-LAB2/ROU/01 | Lab 1 | halfyearly | done | avi darandale | avi darandale | 2025-02-16 00:00:00.0 | 2025-03-11 15:07:01.225 | Check the Amps | 3.8 to 4.2 Amps | ok
142 | RO Unit - Maint/MJ/KF-LAB2/ROU/01 | Lab 1 | halfyearly | done | avi darandale | avi darandale | 2025-02-16 00:00:00.0 | 2025-03-11 15:07:01.225 | Check for water leak in pipelines | No leakage | ok
143 | RO Unit - Maint/MJ/KF-LAB2/ROU/01 | Lab 1 | halfyearly | done | avi darandale | avi darandale | 2025-02-16 00:00:00.0 | 2025-03-11 15:07:01.225 | Check & change cartridge filter | Change | ok
144 | RO Unit - Maint/MJ/KF-LAB2/ROU/01 | Lab 1 | halfyearly | done | avi darandale | avi darandale | 2025-02-16 00:00:00.0 | 2025-03-11 15:07:01.225 | Check water reject | 0.6 | ok
145 | RO Unit - Maint/MJ/KF-LAB2/ROU/01 | Lab 1 | halfyearly | done | avi darandale | avi darandale | 2025-02-16 00:00:00.0 | 2025-03-11 15:07:01.225 | Check water recovery | 0.4 | ok
146 | RO Unit - Maint/MJ/KF-LAB2/ROU/01 | Lab 1 | halfyearly | done | avi darandale | avi darandale | 2025-02-16 00:00:00.0 | 2025-03-11 15:07:01.225 | Check all pressure gauges | 0 - 2 Bar | okok
147 | RO Unit - Maint/MJ/KF-LAB2/ROU/01 | Lab 1 | halfyearly | done | avi darandale | avi darandale | 2025-02-16 00:00:00.0 | 2025-03-11 15:07:01.225 | Check pH and EC | 5.8-6.2/ 0.0-0.1ms | ok
148 | RO Unit - Maint/MJ/KF-LAB2/ROU/01 | Lab 1 | halfyearly | done | avi darandale | avi darandale | 2025-02-16 00:00:00.0 | 2025-03-11 15:07:01.225 | Clean the RO unit | Clean | ok
149 | RO Unit - Maint/MJ/KF-LAB2/ROU/01 | Lab 1 | halfyearly | done | avi darandale | avi darandale | 2025-02-16 00:00:00.0 | 2025-03-11 15:07:01.225 | Check the panel, DB, cable termination & Tightening | Tight | ok
150 | RO Unit - Maint/MJ/KF-LAB2/ROU/01 | Lab 1 | halfyearly | done | avi darandale | avi darandale | 2025-02-16 00:00:00.0 | 2025-03-11 15:07:01.225 | Check any abnormal noise. | Normal Noise < 50 DB | ok
151 | RO Unit - Maint/MJ/KF-LAB2/ROU/01 | Lab 1 | halfyearly | done | avi darandale | avi darandale | 2025-02-16 00:00:00.0 | 2025-03-11 15:07:01.225 | Check the voltage | 190 to 230 volt | o
152 | RO Unit - Maint/MJ/KF-LAB2/ROU/01 | Lab 1 | halfyearly | done | avi darandale | avi darandale | 2025-02-16 00:00:00.0 | 2025-03-11 15:07:01.225 | Check the Amps | 3.8 to 4.2 Amps | k
153 | RO Unit - Maint/MJ/KF-LAB2/ROU/01 | Lab 1 | halfyearly | done | avi darandale | avi darandale | 2025-02-16 00:00:00.0 | 2025-03-11 15:07:01.225 | Check for water leak in pipelines | No leakage | o
154 | RO Unit - Maint/MJ/KF-LAB2/ROU/01 | Lab 1 | halfyearly | done | avi darandale | avi darandale | 2025-02-16 00:00:00.0 | 2025-03-11 15:07:01.225 | Check & change cartridge filter | Change | k
155 | RO Unit - Maint/MJ/KF-LAB2/ROU/01 | Lab 1 | halfyearly | done | avi darandale | avi darandale | 2025-02-16 00:00:00.0 | 2025-03-11 15:07:01.225 | Check water reject | 0.6 | o
156 | RO Unit - Maint/MJ/KF-LAB2/ROU/01 | Lab 1 | halfyearly | done | avi darandale | avi darandale | 2025-02-16 00:00:00.0 | 2025-03-11 15:07:01.225 | Check water recovery | 0.4 | k
157 | RO Unit - Maint/MJ/KF-LAB2/ROU/01 | Lab 1 | halfyearly | done | avi darandale | avi darandale | 2025-02-16 00:00:00.0 | 2025-03-11 15:07:01.225 | Check all pressure gauges | 0 - 2 Bar | ok
158 | RO Unit - Maint/MJ/KF-LAB2/ROU/01 | Lab 1 | halfyearly | done | avi darandale | avi darandale | 2025-02-16 00:00:00.0 | 2025-03-11 15:07:01.225 | Check pH and EC | 5.8-6.2/ 0.0-0.1ms